## Slide 1: The Beginner’s Guide to ICS
HOW TO NEVER SLEEP SOUNDLY AGAIN
Dan bOUGERE

## Slide 2: What We Will Cover
Intro
Overview of ICS
Contrasting ICS and IT
Why This Is Scary
Call to Arms

## Slide 3: Intro

## Slide 4: Traffic Light Protocol
This presentation falls under WHITE
  “Subject to standard copyright rules, WHITE information may be distributed freely, without restriction”
  https://en.wikipedia.org/wiki/Traffic_Light_Protocol

## Slide 5: whoami
Last name is pronounced BOO-zhair
13 Years in IT
Last 10 spent in various security roles
Spent time in the Intelligence Community doing “fun” things
Currently a Senior Security Consultant at Securicon, LLC
  http://securicon.com
Notes: Transition: So how did I end up doing SCADA work? That’s a good story….

## Slide 6: Picture This…
© Touchstone Television
Notes: 2003, pump station on West Bank. NT 3.5 in emergency center
2003, Matrix Reloaded hacking scene
2015, current job

## Slide 7: Overview of ICS
Welcome to the Jungle

## Slide 8: What *exactly* are we talking about?
Basically, any system that is designed to allow maximal control over a complex environment using minimal human interaction.
  Repetitive yet accurate measurements
  The ability to react faster than human reflexes
  Precision measurements across vast geographic distances
  The ability to withstand hostile or remote environments
NIST 800-82: Guide to Industrial Control Systems (ICS) Security
  http://goo.gl/utQFPN
Notes: measuring the same thing, time after time, with accuracy (pressure, voltage, volume, etc)
Cascading failure, safety interlock, circuit breaker
Pipelines, power grids, offshore drilling
Radiation, cold, heat, underwater, caustic chemicals

## Slide 9: What *exactly* do you mean by “measurements”?
ICS systems rely on feedback loops
  PID Controller Theory
    Proportional – produces change proportional to error value
    Integral – produces change based on duration of error value
    Derivative – produces change based on the slope of change.
Fuzzy Logic
  Digital: 0 (False) and 1 (True)
  Uses values between these two to determine feedback
    Off by a little? Slightly true (0.003)
    Off by a lot? Very true (0.952)
    No Goldilocks
Notes: Proportional greatest weight in measurement
Derivative designed to reduce overshoot
Room temp measurement for example

## Slide 10: Types of Processes
Discrete
Batch
Continuous
Hybrid

## Slide 11: Types of Processes – Discrete
Most industrial or robotic production of individual units
Individual components responsible for one job
Think widgets

## Slide 12: Types of Processes – Batch
Input -> Process -> Output
Mostly associated with pharmaceuticals, chemicals, food, etc.
Small to medium amounts
© AMC Networks

## Slide 13: Types of Processes – Continuous
Process that is generally uninterrupted over time
Constant input of materials -> constant output of product
Large quantities
© 20th Century Fox

## Slide 14: Types of Processes – Hybrid
Combination of any or all
An example is regional ATC
  Plane takes off from continuous airport
  Flight path is a discrete system of hand offs to other ATCs
  Lands at destination continuous airport
  Coordinated by regional ATC that monitors entire process
© 20th Century Fox

## Slide 15: General Categories of Systems
Distributed Control System (DCS)/Supervisory Control and Data Acquisition (SCADA)
Process Control System (PCS)
Energy Management System (EMS)
Building Management System (BMS)
Safety Instrumented System (SIS)
Notes: DCS: First type of system. Introduced in 1975. DCS and SCADA have blurred as technology has gotten cheaper/more robust
PCS: Like it says, monitors a process or manufacturing cycle
EMS: Used to control or monitor generation or transmission systems
BMS: Used for HVAC, access, elevators, fire, water, automation, etc
SIS: Safety systems, fire, electrical, valve closure, pressure cutoff, etc

## Slide 16: Contrasting ICS and IT

## Slide 17: Contrasting ICS and IT
HARDWARE

## Slide 18: IT
Servers
Workstations
Network Equipment
  Physical Medium (Ethernet, Wireless, etc)
  Routers, Switches, etc
  Perimeter Defense
Notes: Can be multiple vendor
Changed to reflect business/security trends
Generally interoperable and off-the-shelf
Typical operating environment

## Slide 19: ICS – Servers
Human Machine Interface (HMI)
Data Historian
Control Servers
Programmable Logic Controller (PLC)
Notes: Typically one vendor
Part of an overarching plan, not easily swapped
Historically, not interoperable

## Slide 20: ICS – Workstations
Human Machine Interface (HMI)
Engineering
Programmable Logic Controller (PLC)
  Older models had limited capabilities
  Newer ones blur roles depending on the implementation
Notes: Typically one vendor
Part of an overarching plan, not easily swapped
Historically, not interoperable

## Slide 21: ICS – Network Equipment
Our multi-role friend the PLC
Remote [Terminal|Telemetry] Units
Data Concentrators
Digital Protective Relay (DPR)
Intelligent End Device (IED)
Notes: Typically one vendor
Part of an overarching plan, not easily swapped
Historically, not interoperable
DPR/IED tend to be safety equipment

## Slide 22: Contrasting ICS and IT
software

## Slide 23: IT – OS
Generic OS
  Monolithic kernel for servers and workstations
  Commodity microkernel for network equipment
  Patched and updated (theoretically)
Commodity Software
  Office Productivity Suites
  AntiVirus/HIDS
Notes: Can be multiple vendor
Changed to reflect business/security trends
Generally interoperable and off-the-shelf
Typical operating environment

## Slide 24: ICS – OS
Real Time Operating Systems (RTOS)
  Different scheduling schemes that focus on eliminating locks and resource hogging (round robin, etc) along with interrupts
  Bare necessities needed to function
  Tend to reboot if a halt or other system delay is encountered
  Typically not patched or updated proprietary code, may violate maintenance or support agreements
  Popular versions
    QNX
    VxWorks
    Windows CE

## Slide 25: IT – Protocols
Overwhelmingly Ethernet, TCP/IP, Wifi, etc
Well documented and evolved
Many now have security built directly in
Designed to be interoperable between a multitude of vendors
Not overly concerned with packet or data loss, overhead, or size
Notes: Can be multiple vendor
Changed to reflect business/security trends
Generally interoperable and off-the-shelf
Typical operating environment

## Slide 26: ICS – Protocols
Ancient design (some from late 70s)
For some, simple design is best (ModBUS)
  Coil – 1 bit Boolean, read-write
  Discrete Input – 1 bit Boolean, read only
  Input Register – 16 bit read only, typically measurements and statuses
  Holding Register – 16 bit read-write, typically configuration information
Master constructs request to read a certain value from slave, sends appropriate values in the above, slave responds accordingly and only when polled
  http://goo.gl/VDRcA5 - Simply Modbus: How Does It Work?
Notes: “Back when no one would ever do anything bad to anyone on a network….”

## Slide 27: ICS – Protocols DNP3
For others, more complexity is better (DNP3)
  Binary Input/Output – measures on/off state
  Analog Input/Output – voltage, current, temperature, water levels
  Count – self-evident
  Files – transmit to Master or Slave
  Flag – single octet with fields indicating on line, restart, comm loss downstream, data is forced, over range value
  http://goo.gl/0auAsW - DNP3 Primer
Notes: “Back when no one would ever do anything bad to anyone on a network….”

## Slide 28: ICS – Protocols – DNP3 Continued
Values
    16/32 bit integer
    16/32 bit integer with flag
    16/32 bit integer with flag and event time
    16/32 bit float
    16/32 bit float with flag
    16/32 bit float with flag and event time
Master can poll, but slave can also report without request
  http://goo.gl/0auAsW - DNP3 Primer
Notes: “Back when no one would ever do anything bad to anyone on a network….”

## Slide 29: ICS – Protocols Cont
Many can be encapsulated
  Ethernet
  TCP/IP
  Wifi/GPRS
But suffer drawbacks
  Old equipment may not work and need media converters, bumps-in-the-wire, etc
  Bad people understand these protocols very well, and the underlying protocol is a kitten in a shark tank
Notes: “Back when no one would ever do anything bad to anyone on a network….”

## Slide 30: Contrasting ICS and IT
Business concerns

## Slide 31: IT – Focus
Business
  Making money
  Helping to make money
Non-Profit
  Can still be about making money
  Getting the message out
Confidentiality stressed over Integrity or Availability

## Slide 32: ICS – Focus
Basically, making sure things run as smoothly as possible with as few “human resources” as possible.
Making sure that any dangerous processes are conducted as safely as possible
Finally, making sure that the process itself is done as efficiently as possible.
Availability stressed over Integrity or Confidentiality

## Slide 33: IT – Downtime
SLAs for critical systems/processes
Regular/frequent windows
Unplanned outages can be bad, but not life threatening
  No matter what sales says, it isn’t actually “life threatening”
© Homestarrunner.com

## Slide 34: ICS – Downtime
Very expensive, even if planned
  Tend to be scheduled months or years in advance
  Often delayed due to various factors (expense, weather, mergers, etc)
(Very expensive)n when unplanned
  Can actually *BE* life threatening
  Big ones usually make the news
  Result in Congressional hearings
  Generate whitepapers
  Dogs and cats living together, Gozer, etc
© Marvel Studios

## Slide 35: IT – Procurement
An unending array of commodity hardware and software
Well established interoperability
Variable regulation, depending on industry.
  Mostly minor
  HIPPA, PCI, etc
Some ability to tweak and fine tune setup once purchased
May be patched, upgraded, or secured with few issues

## Slide 36: ICS – Procurement
A restricted amount of generally proprietary hardware and software
Newly established interoperability with modern equipment
  Older equipment may have to be kludged
  Encapsulation helps
Moderate to substantial regulation, depending on industry.
  USDA, FDA, NERC, State, etc
Slight ability to modify setup depending on service agreements
Patches? Upgrades?
  Usually depends on the vendor
  “Bigger fish to fry” during downtime windows

## Slide 37: IT – Security
Robust solutions
Commodity scanners
Commodity drop-in boxes
Established methodologies
Many security professionals familiar with the body of knowledge

## Slide 38: ICS – Security
Solutions range from non-existent, to kludgy, to approaching IT levels.
Many networks have no security
  Bump-in-the-wire
  Encapsulation
Security methodologies are still being developed
Many security professionals UNfamiliar with the body of knowledge

## Slide 39: Scanning ICS Networks Be Like….

## Slide 40: Why This Is Scary
Here’s that no sleeping part…
Notes: Transition: Stux, Duqu, Flame….old news right? Ask about Ukraine cyber attack

## Slide 41: Ukraine Power Grid Attack
December 23, 2015 various oblenergos suffered a coordinated cyberattack that led to ~225,000 customers without power
Seven (7) 110kV and twenty-three (23) 35kV substations were disconnected from the distribution network
Forced to go to manual mode for several hours
Russia is blamed, but attribution is always the bugaboo…since Russia categorically denies any involvement
Notes: Coordinated: around 30 minutes all were attacked

## Slide 42: Ukraine Power Grid Attack – Continued
Started with spearphishing macro-enabled Word documents that installed Black Energy 3
  Required users to enable macros on popup
  Yes, they clicked them.
Once C&C established, cred harvesting and lateral movement began
Found VPNs into the network
Found engineering and process servers on SCADA network
Laid low and observed

## Slide 43: Ukraine Power Grid Attack – Continued 2
December, in Ukraine. Pretty toasty time of year…
  Time to cry havoc and let slip the dogs of war!
Not only were substations disconnected, but the attackers configured one oblenergo’s UPS to fail at the central office once the attacks began.
Also installed malware into media converters that bricked the devices.
And for good measure, DOS’d the call center too.
SANS Blog Post - https://goo.gl/EHTH6e
Notes: Transition: But Dan, you say…that’s Ukraine and an alleged state actor….

## Slide 45: About That…
http://goo.gl/RwDGzL

## Slide 46: Just A Web Search…
https://www.shodan.io/search?query=country%3A%22US%22+state%3A%22TX%22+city%3A%22Austin%22+water+org%3A%22Logix%22
Notes: ZEEP Incorporated: Makes methanol
Fsti Incorporated: Makes hydrochloric acid, caustic soda, and bleach

## Slide 47: Huh….That’s Interesting
http://creedmoormahawscorp.ruralwaterusa.com
Notes: ZEEP Incorporated: Makes methanol
Fsti Incorporated: Makes hydrochloric acid, caustic soda, and bleach

## Slide 48: Good project gonna go bad….
https://www.automatak.com/robus/
Notes: Aegis fuzzer

## Slide 49: We’re Far Enough Away Right?
Notes: ZEEP Incorporated: Makes methanol
Fsti Incorporated: Makes hydrochloric acid, caustic soda, and bleach

## Slide 50: Call to Arms

## Slide 51: Help Us….Help You
If you work in environments like this, or you know people who do:
Please, tell them (or better show them) this is important.
Report anything you run across (nicely!)
Contribute to projects that try to secure this environment
Call Securicon. We’d be GLAD to help!

## Slide 52
Dan.Bougere@Securicon.com
dbougere@gmail.com
@Rouxgaru
https://www.linkedin.com/in/danbougere
Slides: https://github.com/Rouxgaru/slides